## Summery of Cost
Abstract of Cost for Govt High School No 4
Summery Cost
S.No | Name of Activity | Amount
1 | Civil Work | 0
2 | Plumbing | 0
3 | Electrification | 0
| Grand Total | 0

## Abstract Of Cost
Abstract of Cost for Govt High School No 4
S.No | Description | Unit | Quantity | Unit Rate | Tot Amount
Civil Work
1 | Distempering Old surface : Two coats | Sft | 1296.53 |  | 0
2 | Painting old surfaces : Doors / windows OR metal any type First coat and each subsequent coat | Sft | 318.5 |  | 0
3 | White washing: Old surface : Two coats External in addition of color pigment as per color coding | Sft | 1047 |  | 0
4 | 1st class teak wood wrought joinery in doors & windows, panelled or glazed complete : 1.5 to 2" thick + Prepare & Paint new surface, doors & windows Priming coat and each subsequesnt Coat | Sft | 16.25 |  | 0
5 | Cleaning and washing of bath rooms / toilets by using recommended chemicals i/c refilling o joints with grout material. | NO | 12 |  | 0
6 | Cleaning and washing mosaic or marble floor with caustic soda mixture | Sft | 401.7778 |  | 0
7 | Removing of existing wire guaze & re-fixing GI wire gauze of 22 guage and 12 mesh per square inch complete in all respects | Sft | 12 |  | 0
8 | Installation of SS Sheet 2' X 1.5' Sign board along with internal painting of WSSP, WaterAid l, IDEAs logos and project name complete in all respect as per direction of engineer incharge | No | 1 |  | 0
|  | Total Cost For Civil Work |  |  | 0
Plumbing Work
9 | Providing, laying, cutting, jointing, testing and disinfecting High Density Polyethylene Pipe (HDPE) Din-8074/Din-8075/ISO-4427 in trenches, complete in all respects exceptexcavation. (25mm dia) PN-12.5 | Rft | 20 |  | 0
10 | Providing and Fixing CI floor trap including CI grating &concrete chamber all round: 4"x2" | Each | 1 |  | 0
11 | Providing and Fixing Brass peet / gate valve 1" dia | Each | 1 |  | 0
12 | Supply and installation of Electric Water dispencer/Cooler of following , including check valve at inlet and all accessories for complete installation. 65 Gallons for water Kiosik & Primary section & Middle section | Each | 3 |  | 0
13 | Providing, laying, cutting, jointing, testing and disinfecting UPVC pressure pipeline in trenches (conforming to BS 3505 manufactured ) jointed with socket, elbow, tee, bend and plug bend etc.manufactured by the respective manufacturer complete as per specifications UPVC Pressure Pipes Class B (6 Bar) except excavation. 4" Nominal Pipe Size (NPS) | Rft | 13 |  | 0
14 | Triple water filter (10") including inlet and outlet connections, power supply, and all accessories for complete installation. | Each | 2 |  | 0
15 | Providing and Fixing glazed earthen ware wash hand basin (WHB) complete size 56x40 cm (22"x16"), including bracket set, waste coupling, complete in all respects: White with pedestal (Best Quality) + Providing and fixing chorimum plated (CP) mixing valve for wash hand basin (WHB), sink or shower of approved (Best) quality | Each | 2 |  | 0
16 | Providing and fixing 22" x 16" looking mirror of Imported glass complete with Aluminum frame of standared size & c.p screws. (5 for Old & 2 For new) | Each | 2 |  | 0
17 | Construction of making of washing pad 10' long 2" dia GI medium Quality of Pipe including main connection and connection points for bib cocks as per site adjestment including painting to keep it from rusting incuding hooks for fixing of GI pipe incuding stand for GI PIPE from Brick work from 1:4 mortar & Plaster along with proper drainage including seating arrangment from Brick masonary 1:4 mortar incuding plaster complete including white washing complete in all respect as per direction of enginere incharge | Job | 1 |  | 0
18 | Providing and fixing chromium plated (CP) bib-cock heavy duty of approved quality : 1.5 cm 1/2 | No | 15 |  | 0
|  | Total Cost for Plumbing |  |  | 0
Electrification
19 | Supply and installation of wiring for light, fan point from point to switch with 2* 3/0.29 PVC installed cable in 1” i/d PVC pipe (Beta ,dadex) recessed /concealed conduit pipe (Pak cable or Fast cable, AGE ,Pioneer or equivalent i/e ECC wire or sub circuit wiring with 2x7x .029 with all accessories such PPI switches (premier) fixed on plastic sheet and steel boxes grouted in BB walls and RCC columns i/e providing and fixing celling rose and holders etc Curcuit breakers if needed completed in all respect as per specification and instruction of Engineer . | Jobs | 1 |  | 0
20 | Supply and Erection of AC ENERGY EFFICIENT LED LIGHT BULBS (16-20 W) | Nos | 8 |  | 0
21 | Supply and Erection best quality exhaust fan complete with shutter & regulator : 18"sweep | Nos | 1 |  | 0
|  | Total Cost for Electrification |  |  | 0
| Grand Total |  |  |  | 0